#### DONCASTER DISTRICT CONTINENCE FORMULARY

2016 – 2019(V3modified March 2017)

ASSOCIATED POLICIES

This formulary has been used in conjunction with each Trust’s policies:

- ‘Continence Policy’

- ‘Catheter and Best Practice Policy’

- ‘Aseptic Technique and Aseptic Non-Touch Policy’

- ‘Hand Hygiene Policy’

- ‘Standard Infection Prevention and Control Precautions Policy’

- ‘Waste Management Policy’

Review Group

Donna Atkinson Continence Sister RDASH

Mary Fiori Continence Sister RDASH

Linda Bulliman Continence Sister RDASH

Karen Hay Continence Nurse RDASH

Nollie Biggins Continence Nurse Specialist DBHFT

Allison O’Donnell Clinical Procurement Specialist DBHFT

NOTE:

This formulary is to be used to inform the initiation of Continence Products in Primary and Secondary care and guide catheter selection when a patient has moved from secondary care to primary care. Particular catheter bags may be initiated in secondary care however they may be swapped to an equivalent in primary care.

Guidance on Use of Products within the Continence Formulary for Primary and Secondary Care.

- All products have been chosen to ensure continuity of care from secondary care through to primary care, including care homes. Therefore products are available through NHS Supply Chain and on Prescription.

- After clinical assessment if products on the Continence Formulary do not meet the needs of the patient please refer to the specialist formulary for further product options. If you require any further advice with product selection please contact the Specialist Continence Service.

- For patients who are already using products there may be situations where it is not in the patients’ best interest to change to products on the Formulary. Contact the Specialist Continence Service if you require more advice.

- The Continence Formulary must be used when undertaking a new patient assessment where products need to be prescribed.

- Compliance to the Formulary will be monitored through audit on an annual basis.

- Please refer to your NHS organisation policy on seeing Medical representatives.

- Changes to the Continence Formulary will only be made by the Continence Formulary Group.

- The Continence Formulary will be reviewed by the Continence Formulary Group after 2 years unless significant circumstances arise that require immediate action.

- Please remember to change repeat prescriptions and delete the old prescription, otherwise there is a huge cost implication if the wrong equipment is prescribed for your patient.

| Contents | Page |
| --- | --- |
| Urinary Catheter | 6 |
| Long Term Indwelling Catheters | 7-9 |
| Open End Tip Indwelling Catheters | 10 |
| Short Term Indwelling Catheters | 10 |
| Anti-Infection Indwelling Catheters | 11 |
| Lubricating Gels | 12 |
| Catheterisation Packs | 13 |
| Catheter Valves | 13 |
| Tubing and Accessories | 14 |
| Catheter Maintenance | 15-17 |
| Catheter Leg Bags | 17 |
| Sheath Leg Bag | 18 |
| Syphon Leg Bag | 19 |
| Catheter Night Bags Single Use | 19 |
| Catheter Night Bags Reusable | 20 |
| Belly Bag | 20 |
| Leg Bag Holders | 21 |
| Night Bag Stand | 21-22 |
| Intermittent Urinary Catheters Standard/Male Length | 22-23 |
| Specialist Intermittent Catheters/Male Dilators | 23-24 |
| Intermittent Self Catheter Female Length | 24-26 |
| Accessories for Intermittent Catheterisation | 27 |
| Male Sheaths | 28-30 |
| Sheath Accessories | 30 |
| Miscellaneous: Retracted Penis Pouch, Acti-Brief | 31-32 |
| Anal Plugs | 32 |
| Faecal Collectors | 33 |
| Anal Irrigation | 33-37 |
| Continence Urinals | 37-41 |
| Useful Information Links | 42 |
| References | 42 |
| Appendix | 43-47 |

Urinary Catheters

- All patients with an indwelling catheter need to be reassessed at each catheter change to see if they are suitable for a trial without catheter.

- Choice of product depends on:   Assessment

Patient Choice

Local Catheter and Best Practice Guidelines

Policy

- Smallest size that provides adequate drainage should be used to avoid bypassing problems.

- Only Catheters that have a balloon filled with 10mls of sterile water should be used (with the exception of the LINC medical catheters with a 3 or 5 ml catheter balloon).

- Male/Standard length catheters must always be used for men. Due to the short length of a female catheter, if it was to be used to catheterise a male patient there is a greater risk that the balloon will be inflated into the urethra, causing the patient to bleed and go in into shock, leading to further severe complications. To reduce the risk of female length catheters being used for male catheterisation it is recommended that female patients are catheterised using a standard length catheter. Standard length catheters may be more suitable in female patients who are obese, bed or chair bound. However, should a female patient be ambulant and it is the patients preferred choice, a female length catheter may be prescribed.

N.B If Female length catheters are prescribed they must be stored separately from standard length catheters, preferably in the patients’ own room.

- All patients with urinary supra pubic urinary catheters should be re-catheterised with male/standard length catheters.

- All patients who are discharged from hospital with a catheter in situ or are catheterised in the community should have their first prescription generated by the Community Nurses via the patients preferred choice of delivery method i.e. Home Delivery Company or local chemist. Once the first prescription has been placed, patients should be then made aware of how to generate their next delivery. Any changes to the prescriptions must be made by the Community Nurse and not the patient.

All urinary catheters should be:

- Prescribed in single units

- Prescribed 3 initially, but 2 on repeat.

Long term catheters can stay in situ for up to 12 weeks.

The following catheters are suitable for both urethral and supra pubic catheterisation.

100% silicone catheters should be used for all patients who have an allergy to

latex. Woodward (1997) and Blandy (1980) highlighted the problems of latex catheters, including toxicity leading to urethritis, stricture formation and encrustation. All silicone catheters have a slightly wider lumen than that of coated catheters; this aspect should be considered if the patient is prone to blockage of their catheter. Silicone allows diffusion of water; balloons may therefore occasionally deflate in situ, causing the catheter to fall out. Silicone catheters induce only a mild degree of inflammation in the urethra compared with coated catheters.

Silicone Male/Standard length – (Add size to the end order code)

|  | Order Code | Product | Balloon Size (ml) | Gauge/Ch Size | Drug Tariff Price |
| --- | --- | --- | --- | --- | --- |
| 1st Choice | DA3101 (Add size to the end of the order code) | Rusch Brilliant Aquaflate All Silicone with sterile water filled syringe and one empty syringe to deflate balloon. | 10 | 12-24ch | £6.07 |
| 2nd Choice | Male (AA8A12-AA8A22) | Folysil X-Tra with pre-filled syringe for balloon inflation and supplementary syringe for balloon deflation | 10 | 12-22ch | £6.31 |
| Specialist | 08501205W 08501405W 08501610W 08501810W | Linc Medical All Silicone catheter with Unibal type balloon with sterile water filled syringe for balloon inflation, empty syringe for balloon deflation and a syringe of lidocaine and chlohexidine for lubrication (NB lubrication not suitable for supra pubic) | 5 5 10 10 | 12 14 16 18 | £5.52 |

Silicone Female length

|  | Order Code | Product | Balloon Size (ml) | Gauge/Ch Size | Drug Tariff Price |
| --- | --- | --- | --- | --- | --- |
| Specialist 1st Choice | DA2101 (Add size to the end of the order code) | Rusch Brilliant Aquaflate All Silicone with sterile water filled syringe and one empty syringe to deflate balloon. | 10 | 12-22ch | £6.07 |
| Specialist 2nd Choice | Female) (AA8B12-AA8B18) | Folysil X-Tra with pre-filled syringe for balloon inflation and supplementary syringe for balloon deflation | 10 | 12-18ch | £6.31 |
| Specialist | 085012051W 085014051W 085016101W 08501810W | Linc Medical All Silicone catheter with Unibal type balloon with sterile water filled syringe for balloon inflation, empty syringe for balloon deflation and a syringe of lidocaine and chlohexidine for lubrication (NB lubrication not suitable for supra pubic) | 5 5 10 10 | 12 14 16 18 | £5.52 |

Hydrogel coated catheters absorb water to produce a slippery surface, which reduces trauma on insertion (Getliffe, 1997). They are latex catheters that have been coated. They are less susceptible to encrustation that those that have been silicones (Talja et al, 1990) and are less prone to bacterial adherence (Roberts et al, 1993). Godfrey and Evans (2000) recommend using all silicone catheters or Hydrogel catheters for long-term use, in order to minimise the incidence of encrustation.

Hydrogel Male/Standard length

|  | Order Code | Product | Balloon Size (ml) | Gauge/Ch Size | Drug Tariff Price |
| --- | --- | --- | --- | --- | --- |
| 1st Choice | DH3101 (Add size to the end of the order code) | Rusch Sympacath Aquaflate Hydrogel Coated Latex with sterile water filled syringe for balloon inflation and one empty syringe to deflate balloon | 10 | 12-24 | £6.12 |
| 2nd Choice | AA8A (Add size to the end of the order code) | Coloplast Folysil X-Tra with pre-filled syringe for balloon inflation and supplementary syringe | 10 | 12-22 | £6.31 |

Hydrogel Female Length

|  | Order Code | Product | Balloon Size (ml) | Gauge/Ch Size | Drug Tariff Price |
| --- | --- | --- | --- | --- | --- |
| Specialist 1st Choice | DH2101 (Add size to the end of the order code) | Rusch Sympacath Aquaflate Hydrogel Coated Latex with sterile water filled syringe for balloon inflation and one empty syringe to deflate balloon | 10 | 12-24 | £6.12 |
| Specialist 2nd Choice | AA8B (Add size to the end of the order code) | Coloplast Folysil X-Tra with pre-filled syringe for balloon inflation and supplementary syringe | 10 | 12-18 | £6.31 |

Blocking and bypassing problems common with long term catheter usage. Discuss management with Specialist Continence Service who may suggest alternative catheters listed below.

Open ended tip silicone catheter (Standard)

This catheter is suitable for both urethral and supra pubic use and may be an alternative for patients who have receptive by-passing and blocking problems

| Order Code | Product | Balloon Size (ml) | Gauge/Ch Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Specialist AA8C (Add size to the end of the order code) | Coloplast Folysil X-Tra Silicone open ended tip catheter with pre-filled syringe for balloon inflation and empty syringe for balloon deflation | 10 | 12-18 | £6.38 |

Open ended tip catheter with Unibal Balloon (integrated balloon), may be used on patients who experience discomfort on removal caused by cuffing from the deflated balloon.

| Order Code | Product | Balloon Size (ml) | Gauge/Ch Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Specialist 08451205W-08451405W 08451610W 08451810W 08452010W 08452210W 08452410W | Linc Medical All Silicone Open Tipped Catheter with Unibal type Balloon with Sterile water filled syringe for balloon inflation, empty syringe for balloon deflation and a syringe of lidocaine and chlorhexidine for lubrication. (N.B lubrication not suitable for suprapubic) | 5 10 | 12-14 16-24 | £10.95 |

Short Term catheter (PTFE) The advantage of this catheter is that by coating the catheter the catheter is soft and pliable. The advantage of the Teflon catheter is that it can remain in-situ or up to one month before delamination will occur.

Short term catheters – can stay in situ for 28 days. N.B Not suitable for patients who have a latex allergy.

| Order Code | Product | Balloon Size (ml) | Gauge/Ch Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Specialist D1265AL (Add size to the end of the order code) | Bard PTFE coated latex With prefilled syringe with sterile water | 10 | 12-24 | £2.68 |

Anti-infection Urinary Catheter

Silver alloy coated catheter - Urinary catheter that reduces bacterial adherence and minimizes biofilm formation.

| Order Code | Product | Balloon Size (ml) | Gauge/Ch Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Specialist D2365 (Add size to the end of the order code) | Bardex I.C Foley catheter. Male/Standard Length (28 days) | 10 | 12S-22S | £9.66 |
| Specialist D2369 (Add size to the end of the order code) | Bardex I.C Foley catheter. Female Length (28 days) | 10 | 12S-16S | £9.66 |

Lubricating Gels for Urinary Catheterisation

The following lubricants come in disposable syringes with/without local anaesthetic for instillation into the urethra prior to catheterisation which can help reduce injury to the urothenium and subsequent risk of possible urethral damage. Lubricants with anaesthetic should be used for both male and female urethral catheterisations (NICE 2012). Prior to use any allergies, sensitivities or contra indications must be checked with the patient.

Please be aware that lubricants with anaesthetic are not suitable for supra pubic recatheterisation. Please ensure that you use lubricant only gel and it is clearly documented in the patient’s notes.

N.B The first supra pubic catheter change is performed in secondary care.

Lubricant with anaesthetic

Prescribe 3 as single units

|  | Order code | Product | Size | Packet size | Drug Tariff Price |
| --- | --- | --- | --- | --- | --- |
| 1st Choice |  | Instillagel (Female) | 6mls | 10 | £14.05 |
|  |  | Instillagel (Male) | 11mls | 10 | £15.76 |
| 2nd Choice | CJL08501 | Cathejell Lidocaine C (Female) | 8.5g | 1 | £1.20 |
|  | CJL12501 | Cathejell Lidocaine C (Male) | 12.5g | 1 | £1.25 |

Lubricant only

|  | Order code | Product | Size | Packet size | Drug Tariff Price | Individual price |
| --- | --- | --- | --- | --- | --- | --- |
| 1st Choice | F20M098 | Sutherland Lubricating gel sterile sachet | 5g | 100 | £12.35 | 12p |
|  | *Order though RDC for Community Nurse base points |  |  |  |  |  |
| 2nd Choice | CJM08501 | Cathejell Mono (Female) | 8.5g | 1 | £1.20 |  |
|  | CJM1251 | Cathejell Mono (Male) | 12.5g | 1 | £1.25 |  |

Catheterisation Pack

Prescribe 1 pack per catheter

| Order code | Product | Size | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| FTE1419 FTE1421 | Dressing pack, Contains: Sterile field, sterile gloves, apron, soft swabs and disposal bag | Medium Large | 60 | £8.70 (£0.15 each) |
| EVH039 | Dress-it, Contains: Sterile field, sterile gloves, apron, soft swabs and disposal bag | Medium-Large | 60 | £49.28 (£0.82 each) |
| 908410 | Cath-it, Two layer system - layer 1 catheter removal kit, layer 2 catheter insertion kit (requires syringe) | Small/Medium | 1 | £1.98 |
| 908420 | Cath-it, Two layer system - layer 1 catheter removal kit, layer 2 catheter insertion kit (requires syringe) | Medium/Large | 1 | £1.98 |

Catheter Valves

Ideally these should be considered as first choice as opposed to ‘free drainage’ via a urine drainage bag, unless a medical reason is stated or by patient choice. Prior to catheter valve being fitted the patient needs to have a comprehensive assessment completed which includes patient choice, may be advantageous in maintaining bladder tone.

The following points should be considered:

- Does the patient have the cognitive awareness to remember to empty their bladder regularly

- Does the patient have the dexterity to use catheter valve

- Does the patient have adequate bladder capacity

- Does the patient have no history of bladder injury

- Patient is not known to high pressure Chronic Retention (U&E’s must be stable and not deranged)

- Catheter valve must be changed weekly

- A night bag can be attached directly to the valve outlet for ‘free drainage’ at night

Prescribe 10 as a single unit every 8 weeks.

|  | Order code | Product | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| 1st Choice | BFF5 | Bard Flip flow valve | 5 | £13.12 |
| 2nd Choice | CV3808 | Coloplast catheter Valve | 10 | £26.36 |

Tubing and Accessories

Catheter tube restraining straps

Restraining straps must be worn by all patients that have a standard urethral catheter and use a leg bag or are bed bound and use a night bag to ensure that any traction from the catheter bag is absorbed by the strap. A restraining strap can also help prevent damage to the meatus. These products are washable and reusable.

Prescribe 5 as a single unit every 4 months

|  | Order code | Product | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| 1st Choice | 383001 | Coloplast Simpla G strap Adult | 5 | £14.29 |

Abdominal restraining straps are also available for supra pubic catheters

Prescribe 5 as a single unit every 4 months

|  | Order code | Product | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| 1st Choice | 383003 | Coloplast Simpla G strap Abdominal | 5 | £15.77 |

Catheter Maintenance

These should only be used once a clear urinary catheter history is documented and it has been established that the patient may benefit from the planned use of a catheter maintenance solution to extend the life of the urinary catheter, or prior to the removal of a urinary catheter to dissolve crystal formation to prevent trauma. For catheters that regularly block due to encrustation, try to establish the life of 3 catheters.  This will establish a clear pattern. Once the pattern has been established and a clear treatment plan has been written, the use of the appropriate catheter maintenance solution and planned catheter changes can be adopted.

Best Practice is to use two solutions, current research supports the use of two sequential instillations of a small volume are more effective at dissolving encrustation (Getliffe, et al 2000). B-Braun Uro-Tainer Twin, has two chambers of 30mls solution, each chamber is instilled for 5 minutes and therefore you are only breaking the closed drainage system the once.

First line Treatment for Encrustation

Recommended for patients that are identified as a “Blocker” due to encrustation.

If irritation is experienced, treatment should be halted.

Suby G

Recommended prior to catheter change and also for persistent “blockers”.

Can be effective in clearing a catheter which is completely blocked by encrustation. Prior to catheter removal it will dissolve crystals formed in and around the catheter tip making removal less traumatic.

N.B Suby G should always be considered first before using the stronger solution of Solutio R

Solutio R

Normal Saline

Normal Saline with PHMB 0.02%

Polyhexanide

Recommended to flush out debris, mucus, light haematuria and provide bacterial decolonisation of the catheter.  Not suitable for encrustation.

Recommended to flush out debris, mucus and light haematuria, not suitable for encrustation.

Prescribe 10 at a time

| Order Code | Product | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- |
| FB99849 | Uro-Tainer NaCI 0.9% (Normal Saline) | 1 | £3.51 |
| FB99965 | Uro-Tainer Normal Saline with PHMB 0.02% Polyhexanide | 1 | £3.40 |
| 9746609 | Uro-Tainer Twin Suby G | 1 | £4.81 |
| 9746625 | Uro-Tainer Twin Solutio R | 1 | £4.81 |

Urinary Catheter Drainage Bags

Leg Bags

When assessing patients it is important to consider the following points:

- Bag capacity (mls)

- Tube length (short, for wearing on the thigh, long for wearing on the knee or calve)

- Tap designed for ease of use

- Patient choice

- All Urinary catheter leg drainage bags need to be changed every 5-7 days.

- Ensure bags are not changed un-necessarily as it is it could put the patients at increased risk of infection by breaking the closed drainage system more than necessary.

- When used in conjunction with 2litre night bags, patients/carers should always attach the night bag to the bottom of the leg bag. This ensures unnecessary breaking of the ‘closed drainage system’.

- Writing the date of next change on the leg bag is also recommended best practice.

Lever action (sterile)

Prescribe 10 bags alternate months

| Product | Leg bag size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Teleflex Rusch Leg Bag Lever Tap, with Needle free sample port and silicone coated Velcro straps | 350mls Short tube 350mls Long tube 500mls Short tube 500mls Long tube 750mls Short tube 750mls Long tube | 850363-000350 850364-000350 850363-000500 850364-000500 850363-000750 850364-000750 | 10 | £21.75 £23.77 £23.77 |

Slide action (Sterile)

Prescribe 10 bags alternate months

| Product | Leg bag size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Teleflex Rusch Leg Bag Slide Tap, with Needle free sample port and silicone coated Velcro straps | 350mls Short tube 350mls Long tube 500mls Short tube 500mls Long tube | 850361-000350 850362-000350 850361-000500 850362-000500 | 10 | £21.75 £23.77 |

Sheath Leg Bag (Non Sterile)

Prescribe 10 bags every 8 weeks

| Product | Leg bag size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Coloplast Conveen Security Plus Leg bags | 350mls 30cm tube 350mls 50cm tube 500mls 30cm tube 500mls 50cm tube | 5164 5165 5160 5161 | 10 | £24.66 |

Syphon leg bag

This leg bag has been specially designed for wheelchair users with limited dexterity or balance, providing greater independence and freedom.

Prescribe 10 bags alternate months

| Product | Leg bag size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Simpla Plus Syphon Bag, with anti- kink tubing and non-return valve | 750mls short tube 750mls long tube | 21566 21567 | 10 | £30.49 |

Urinary Catheter Night/Bed 2 litre Bags

Single Use 2 litre bags (Unsterile)

At night single use 2 litre bags should be attached to the bottom of the leg bag rather than drainable bags. The single use bags do not have any cost implications, compared against drainable 2 litre bags but are recommended by Infection Prevention and Control for use by all patients that have an indwelling catheter and require added drainage capacity overnight.

.Prescribe 1pack per month

| Order Code | Product | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- |
| 850422 | Teleflex 2 litre non-sterile night bag with single use drainable tap | 30 | £9.41 |
| Alternative product Prescribe 3 packs per month |  |  |  |
| PSU2 | Prosys Non sterile 2 litre night bag | 10 | £3.04 |

Drainable Reusable 2 litre bags (Sterile)

These 2 litre catheter bags would be used for patients that are solely cared for in bed at all times and do not require a leg bag. They need to be changed every 5-7 days. These bags may also be used with certain types of urinal devices.

.Prescribe 10 bags every 8 weeks

| Order Code | Product | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- |
| 850420 | Teleflex Rusch Night bag 2 litre slide tap, with needle free sample port | 10 | £10.62 |
| 850421 | Teleflex Rusch Night bag 2 litre lever tap, with needle free sample port | 10 | £10.62 |

Belly Bags

These are positioned on the abdomen. Urine drains into the bag by means of residual bladder pressure. Bag capacity is 1 litre; therefore there is no need for a night bag. This bag needs to be changed every 28 days.

Prescribe 3 every 12 weeks

| Order Code | Product | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- |
| B1000 | Teleflex Rusch Belly Bag 1000mls (short outlet tube) | 1 | £10.62 |
| B1000CT | Teleflex Rusch belly Bag 1000mls (with extra-long (60cm) outlet tube useful for wheelchair users) | 1 | £10.62 |

There are other types of catheter bags available that are useful for patients with disabilities. Please see Appendix 1 for a list of alternative products. Please Contact the Specialist Continence Service for advice before prescribing.

Leg Bag Holders

Used to support urinary catheter leg bags, so reducing the pull back on the bladder neck and reducing urethral trauma. The sleeve can be worn on the thigh or calf but the area needs to be measured to ensure right size sleeve is ordered.

Prescribe 4 as single units every 4 months

| Product | Leg bag holder size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Bard Urisleeve leg bag holder | Small (24-39cm) Medium (36-55cm) Large(40-70cm) Extra Large (65-96) | 15011 150121 150131 150141 | 4 | £8.14 |

Accessories

| Order Code | Product | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- |
| 00-0032C | Teleflex Leg bag straps (pairs); washable, anti-slip with velcro fastening | 10 | £11.70 |

Night Bag Stands

Please note that these are not available on prescription, however they are available through the NHS Supply Chain or alternatively can be supplied free of charge through a selection of Home Delivery Companies.

Via Supply Chain

| Order Code | Product | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- |
| FST501 | Prosys: Urine drainage bag plastic floor stand, collapsible | 12 | £25.46 (£2.12 each) |
| 380431 | Coloplast: Urine drainage bag plastic floor stand, collapsible | 1 | £2.31 |

|  | Product | Telephone Number |
| --- | --- | --- |
| Scripteasy | Catheter bag stand – plastic flat pack | 08000121699 |
| Charter Health Care | Catheter Bag Stand-plastic flat pack | 0800132787 |

Free Via Delivery Company (N.B other continence products must be ordered through the delivery company)

Intermittent Urinary Catheters

Intermittent catheterisation should be used in preference to an indwelling catheter if it is clinically appropriate and a practical option for the patient (NICE, 2012). There are a wide range of intermittent catheters available and therefore each patient needs to be holistically assessed to ensure the correct catheter is prescribed to meet individual needs. The assessing practitioner will be able to guide the prescriber in prescribing the type and quantity of products required (patients may require 6-8 catheters per day).

Please note: The prescription for intermittent catheters may need to be changed; either in quantity due to patient’s needs, or by catheter type as the patient becomes more skilled at intermittent self- catheterisation. Patients may also require 2 types of intermittent catheters to enable them to meet their life style.

Intermittent Self Catheterisation Male/Standard length

| Product | Ch | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Coloplast Speedicath | 8-18 | 28408 28410 28412 28414 28416 28418 | 30 | £44.70 |
| Wellspect Lofric Primo non PVC with integrated water pocket | 8-18ch | 4100825 4101025 4101225 4101425 4101625 4101825 | 30 | £45.59 |
| B-Braun Medical Actreen Hi Light | 8-16ch | 238208E 238210E 238212E 238214E 238216E | 30 | £44.50 |
| Rochester Medical HydroSil Gripper | 10-18ch | 73610 73612 73614 73616 73618 | 30 | £44.84 |

Speciality Intermittent Self Catheterisation Male/Standard Tiemann Tip

| Product | Ch | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Wellspect Healthcare Lofic Primo with Tiemann Tip non PVC with integrated water packet | 10-18ch | 4151025 4151225 4151425 4151625 4151825 | 30 | £45.80 |

Intermittent Self Catheterisation Male Dilator

| Product | Ch | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Wymedical Ltd Wycath Hydrophillic Meatal Dilator Standard tip | 8-18ch | WCM08 WCM10 WCM12 WCM14 WCM16 WCM18 | 30 | £38.40 |
| Wymedical Ltd Wycath Hydrophillic Meatal Dilator Tapered tip | 8-18ch | WMCT08 WMCT10 WMCT12 WMCT14 WMCT16 WMCT18 | 30 | £40.20 |

Intermitted Self Catheterisation Female

| Product | Ch | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Coloplast Speedicath Compact | 6ch 8-14ch | 28576 28578 28580 28582 28584 | 30 | £46.29 £46.23 |
| Speedicath Compact Plus | 10-14ch | 28810 28812 28814 | 30 | £48.26 |
| Speedicath | 8-16ch | 28508 28510 28512 28514 28516 | 30 | £44.70 |
| B-Braun Actreen Hi Lite | 6-16ch | 238306E 238308E 238312E 238314E 238316E | 30 | £44.50 |
| Wellspec Healthcare Lofric Primo non PVC with integrated water pocket 15cm | 8-14ch | 4140825 4141025 4141225 4141425 | 30 | £46.93 |
| Wellspec Healthcare Lofric Primo non PVC with integrated water pocket 20cm | 8-18ch | 4130825 4131025 4131225 4131425 4131625 4131825 | 30 | £46.93 |

Intermittent Self Catheter with Urine Drainage Bag Male/Standard

| Product | Ch | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Wellspect Healthcare Lofic Hydro Kit | 8-18ch | 4200825 4201025 4201225 4201425 4201625 4201825 | 20 | £37.48 |
| B-Braun Actreen Glys Set | 8-18ch | 226208E 226210E 226212E 226214E 226216E 226218E | 30 | £61.55 |

Intermittent Self Catheter with Urine Drainage Bag Female

| Product | Ch | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Wellspect Healthcare Lofic Hydro Kit | 8-18ch | 4230825 4231025 4231425 4231625 4231825 | 20 | £38.78 |
| B-Braun Actreen Glys Set | 8-18ch | 226306E 226308E 226310E 226312E 226314E 226316E 226318E | 30 | £61.55 |
| Speedicath Compact Set | 10ch 12ch 14ch | 28520 28522 28524 | 20 | £52.13 |

Speciality Intermittent Self Catheters

| Product | Ch | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Malvern Medical Long Term Use, reusable, Female length only. Biscath System - Comprises of 6 stainless steel catheters with case and brushes. | 8ch 10ch 12ch 14ch | BISC001 BISC002 BISC003 BISC004 | 1 | £248.75 |

Accessories for Intermittent Self Catheterisation and Indwelling catheters

| Product | Size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Manfred Sauer P hold penis Director/positioner & Holder/Stretcher | Normal 2cm thick Wide 4cm thick | PHN PHW | 1 | £3.70 |
| Wellspect Healthcare Lofric Intermittent catheter peg - This is a handle | Not available on prescription. Available from Select Home Delivery Company free of charge. |  |  |  |
| Linc medical Bladder Infusion Kit By using the needle free sample port on the catheter bag, this infusion kit allows you to be able to administer catheter maintenance solution without breaking the closed drainage system. |  | MCI/701 | 10 | £19.90 |

Male Sheaths

Sheaths are a useful alternative method to manage urinary incontinence in men. Each patient should be professionally assessed for:

- Correct length sheath-style

- Size

- Drainage system - adjustable tube leg bags must be used

Sheaths should be changed daily to aid pressure relief, personal hygiene and assessment of skin integrity. Soap and water is normally adequate for removal. In the event of a problem consider the use of an adhesive remover.

If a sheath is not successful, other alternative body worn appliances are available. Please contact the Specialist Continence Service for details and assessment.

| Product | Size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Rochester medical Clear Advantage with Aloe Silicone Sheath Style 1 Standard | 24mm 28mm 32mm 36mm 40mm | 1234 1283 1323 1363 1403 | 30 | £50.92 |
| Clear Advantage with Aloe Silicone Sheath Style 2 pop-on | 24mm 28mm 32mm 36mm 40mm | 2243 2283 2323 2363 2403 | 30 | £52.92 |
| Clear Advantage with Aloe Silicone Sheath Style 3 wideband | 24mm 28mm 32mm 36mm 40mm | 3243 3283 3323 3363 3403 | 30 | £52.92 |

| Product | Size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Clear Advantage Spirit, Style 1 Standard | 24mm 28mm 32mm 36mm 40mm | 5243 5283 5323 5363 5403 | 30 | £52.92 |
| Clear Advantage Spirit, Style 2 pop-on | 24mm 28mm 32mm 36mm 40mm | 7243 7283 7323 7363 7403 | 30 | £52.92 |
| Clear Advantage Spirit, Style 3 Wideband | 24mm 28mm 32mm 36mm 40mm | 9243 9283 9323 9363 9403 | 30 | £52.92 |
| Coloplast Conveen optima Self-sealing Urisheath (Shorter Length) | 21mm 25mm 30mm 35mm | 22121 22125 22130 22135 | 30 | £51.68 |
| Conveen optima Self-sealing Urisheath (Standard length) | 25mm 28mm 30mm 35mm 40mm | 22025 22028 22030 22035 22040 | 30 | £51.68 |
| Conveen Security + Self-sealing Urisheath with Anti-kink design | Extra small Small Medium Large Extra large | 5221 5225 5230 5235 5240 | 30 | £52.02 |

| Product | Size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Conveen Security + Easifit shorter length self-sealing Urisheath with anti-kink design | Extra small Small Medium Large | 22011 22012 22013 22014 | 30 | £51.43 |

Conveen Active bag is a small thigh bag (250mls capacity) that is useful for sheath use only when dribbling via the penis is experienced when a supra pubic catheter is, or if dribbling incontinence is experienced some of the time and the patient does not want to use an incontinence pad all of the time.

| Product | Size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Coloplast Conveen Active 7cm Adjustable inlet tube | 250mls | 25501 | 10 | £26.46 |

Sheath Accessories

Needs to be prescribed as single items as indicated in pack size i.e. Conveen prep wipes 54 wipes

| Product | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- |
| Conveen prep - wipes used prior to applying sheaths to add adhesion | 62042 | 54 wipes | £10.61 |
| Appeel No Sting Medical Adhesive Remover wipes - to ease removal of sheaths | 3505 | 54 wipes | £15.54 |
| Appeel No Sting Medical Adhesive Remover spray - to ease removal of sheaths (50mls) | 3500 | 1 | £9.37 |

Miscellaneous

| Product | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- |
| Hollister Retracted Penis Pouch | 9811 | 10 | £29.13 |

Body worn appliances

These products are only prescribed by the Specialist Continence Service.

The Acti Brief Systems

The Acti-Briefs are made of soft cotton with a unique and modern design and are a popular choice for patients who are looking for reassurance when dealing with male continence issues.

Suitable for those who have suffered a spinal cord injury or who have a known diagnosis of reflex incontinence:

- Parkinson’s

- Multiple Sclerosis

- Spina Bifida

- Brain tumour

- For those who have a functional incontinence; dementia, poor mobility, impaired vision

- For those who use ISC for routine bladder management but suffer from passive leakage between.

- Post op urology patients with continent issues – Radical Prostatectomy.

- Cancer treatments to bladder and prostate causing residual bladder irritability.

| Product | Flange Size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| C S Bullen Ltd Acti-Brief Plus Male Urine Collection System with 10 pouches size S,M,L,XL,XXL | 20mm 25mm 27.5mm 30mm 32.5mm 35mm 40mm | ABPlus/18/20 ABPlus/18/25 ABPlus/18/27.5 ABPlus/18/30 ABPlus/18/32.5 ABPlus/18/35 ABPlus/18/40 | 1 | £39.95 |
| Replacement pouches for ABPlus 18 x 15 |  | SPlus18 |  | £32.25 |
| Original Acti brief uri-drain system with 10 pouches S,M,L,XL | 20mm 25mm 27.5mm 30mm 32.5mm 35mm 40mm | AB/18/20 AB/18/25 AB/18/27.5 AB/18/30 AB/18/32.5 AB/18/35 AB/18/40 | 1 | £24.54 |
| Uri-drain System with 10 pouches | 20mm 25mm 27.5mm 30mm 32.5mm 35mm 40mm | LU18/20 LU18/25 LU18/27.5 LU18/30 LU18/32.5 LU18/35 LU18/40 | 1 | £24.54 |
| Replacement Pouches for LU18 x 15 |  | SP18 | 1 | £25.57 |

Anal Plugs

This product will be specially prescribed by the Specialist Continence Service following a full continence assessment. Anal plugs are used for patients with ano-rectal incontinence problems. The anal plug is inserted just like a suppository. The foam has been compressed to a small size and coated with a water-soluble film. When the film is exposed to the warmth and moisture of the rectum, it dissolves – the plug then expands, conforming to the shape of the rectal cavity. By protecting against leakage, the anal plug gives the patient the confidence to participate in activities where they need to feel secure, such as swimming.

Prescribe 20 at a time as requested

| Product | Size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Coloplast Peristeen Anal Plug | Small Large | 1450 1451 | 20 | £46.26 £45.31 |

Hollister Faecal collector

Designed to contain liquid stool and help protect perianal skin from irritation and maceration caused by faecal discharge. Ideal for bed bound patients experiencing semi-soiled or liquid stools.

Prescribe 10 at a time as requested

| Product | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- |
| 50cm Tubing Non Sterile 500ml | 9822 | 10 | £45.12 |
| 50cm tubing Non Sterile 1000ml | 9821 | 10 | £45.12 |

Anal Irrigation

When constipation or faecal incontinence cannot be managed effectively by conservative methods, Anal Irrigation maybe considered. However not all patients are suitable for Anal Irrigation; therefore it is important that the patient has a full comprehensive assessment carried out by the Specialist Continence Service before anal irrigation can be prescribed. Please refer to the Specialist Continence Service for a specialist assessment. If the patient is already under a Consultant for bowel problems then a referral from the Consultant to the Specialist Continence Service will be required. If the patient is suitable for anal irrigation they will be taught the procedure in the community, unless taught in Secondary Care by the Spinal Injuries Unit. Patients usually need support from the Specialist Continence Service when they initially use the system and then will be offered a yearly review.

Qufora Anal Irrigation System (MacGregor Healthcare)

| Product | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- |
| IrriSedo Mini System- (15 irrigation set) (contains 1 pump, 15 Hydrophillic coated cones, 15 waste bags) | 53601-015 | 1 | £59.00 |
| IrriSedo Cone System (toilet system) Starter set (contains 1 pump, 1 water bag, 5 Hydrophilic coated cones, 5 waste bags, 1 toilet bag) | QTS | 1 | £77.80 |
| 15 irrigation set(Monthly set) (Contains 1 pump, 1 water bag, 15 Hydrophillic coated cones, 15 waste bags) | QTM | 1 | £101.66 |
| Balloon System Base set (contains 1 control with velcro strap, 1 water bag, 2 rectal balloon catheters medium) | 58101-002 | 1 | £70.00 |
| Balloon System Base set (contains 1 control with velcro strap, 1 water bag, 2 rectal balloon catheters small) | 58102-002 | 1 | £70.00 |
| Balloon system-Accessory set (contains 1 water bag, 15 rectal balloon catheters medium) | 58201-015 | 1 | £115.00 |
| Balloon system-Accessory set (contains 1 water bag, 15 rectal balloon catheters small) | 58202-015 | 1 | £115.00 |
| Balloon System - Catheter set (Contains 10 rectal balloon catheters, medium) | 58301-0101 | 1 | £79.00 |
| Balloon System - Catheter set (Contains 10 rectal balloon catheters, small) | 58302-0101 | 1 | £79.00 |
| Bed System (5 Irrigation Set) Contains 1 water bag, 1 water pump , 5 rectal catheters 12mm, 5 collection bags) | 53201-055 | 1 | £49.00 |
| Bed System (5 Irrigation Set) Contains 1 water bag, 1 water pump , 5 rectal catheters 21mm, 5 collection bags) | 53001-055 | 1 | £49.00 |
| Bed System (5 Irrigation Set) Contains 1 water bag, 1 water pump , 5 rectal catheters 30mm, 5 collection bags) | 53101-055 | 1 | £49.00 |
| Bed System (15 irrigation set) (contains 1 water bag, 1 water pump, 15 rectal catheters 12mm, 15 collection bags) | 53201-015 | 1 | £149.70 |
| Bed System (15 irrigation set) (contains 1 water bag, 1 water pump, 15 rectal catheters 21mm, 15 collection bags) | 53001-015 | 1 | £149.70 |
| Bed System (15 irrigation set) (contains 1 water bag, 1 water pump, 15 rectal catheters 30mm, 15 collection bags) | 53101-015 | 1 | £149.70 |

Aquaflush Irrigation Systems- Oakmed

| Product | Order Code | Pack Size | Drug Tariff |
| --- | --- | --- | --- |
| Aquaflush Actif Irrigation Cone System Starter set (contains 1 water bag, 1 pump, 1 hook for water bag, 1 extension tube, 5 cones wrapped in glove/disposal bag, 1 strap, 1 wash bag) | AFAS | 1 | £77.73 |
| Monthly Set (Contains 1 water bag, 1 pump, 1 hook for water bag, 15 cones wrapped in glove/disposal bag) | AFAM | 1 | £101.96 |
| Aquaflush Compact System Starter set (Contains 1 pump, 5 cones, 5 glove/disposal bags, 1 wash bag) | AFCS | 1 | £33.60 |
| Monthly Set (contains 1 pump, 15 cones, 15 gloves/disposal bags) | AFCM | 1 | £60.07 |
| Aquaflush Quick System Starter set (Contains 1 water bag, 1 pump, 1 hook for water bag, 1 extension tube, 5 cones, 5 gloves/disposal bags) | AFQS | 1 | £78.39 |
| Monthly Set (contains 1 water bag, 1 pump, 15 cones, 15 gloves/disposal bag) | AFQM | 1 | £102.83 |
| Aquaflush Extension tubes | AFExtn | 2 | £6.06 |
| Aquaflush Straps | AFStraps | A pair | £5.04 |

Peristeen Anal Irrigation System - Coloplast

Catheters are single use only. Water bag can be used 15 times. Control unit can be used 90 times.

| Product | Order Code | Pack Size | Drug Tariff |
| --- | --- | --- | --- |
| Peristeen System (includes 1 control unit, 2 rectal catheters, 1 water bag, 2 straps) | 29121 | 1 | £75.49 |
| Peristeen System (includes 1 control unit, 2 rectal catheters, 1 water bag, 2 straps) Small | 29126 | 1 | £75.49 |
| Peristeen Accessory Unit (contains 15 rectal catheters, 1 water bag) | 29122 | 1 | £131.57 |
| Peristeen Accessory Unit (contains 15 rectal catheters, 1 water bag) Small | 29127 | 1 | £131.57 |
| Peristeen Rectal Catheters | 29123 | 10 | £84.12 |
| Peristeen Rectal Catheters Small | 29128 | 10 | £84.12 |
| Peristeen Straps | 29124 | A pair | £5.39 |
| Peristeen Tubes | 29125 | 2 | £7.55 |

Continence Urinals

There are a wide number of reusable urinals for both men and women that can be prescribed to enable them to remain continent even if they have poor mobility or they are chair/bed bound. If you are unsure as to which urinal may be most suitable, please refer the patient to the Specialist Continence Service for a Continence Assessment.

Male Urinals

| Product | Image | Order Code | Drug Tariff |
| --- | --- | --- | --- |
| Payne’s Male Urine |  | 1350 | £9.36 |
| Payne’s Non Spill Adaptor (Compatible with the Payne’s Male Urinal) |  | 1352 | £7.15 |
| Beambridge Funnel Can be used a director or as a urinal with a night bag* |  | Male 6-35 Male mini 6-35M Youth 6-38 | £13.19 |
| Beambride jug with Tap Without Tap use with a night bag* |  | (With Tap) 6-50T (Without Tap) 6-50 | £14.28 |
| Manfred Sauer Uribag Pocket size Male Urinal |  | Uribag | £14.19 |

Female Urinals

| Product | Image | Order Code | Drug Tariff |
| --- | --- | --- | --- |
| Beambridge Urinal *without tap can be used with a night bag |  | (With Tap) 6-18T (Without Tap) 6-18 | £14.28 |
| Bridge Saddle Urinal |  | 6-26 | £14.28 |
| *Beambridge Lady Jug |  | 6-45 | £15.37 |
| Manfred Sauer Uribag Female Pocket Urinal |  | UribagF | £14.19 |
| Beambridge Lady Funnel |  | 6-40 | £13.19 |
| *Whiz Urine Director |  | ATD 2002.1 or ATD 2004.10 (with 10cm connecting tube for use with drainage bag) | £8.72 £10.54 |
| Whiz Cleancath midstream (Urine collection device for midstream sample) |  | (With Boric Acid) C8B30 (Without Boric Acid) C830 | £0.96 £0.94 |

Accessories for both male and female urinals

| Product | Image | Order Code | Drug Tariff |
| --- | --- | --- | --- |
| Vernagel (Vernagel is a super absorbent powder which prevents spillages and leaks by solidifying liquids) The item is restricted to individuals who are self-caring patients, who do not have the support of a carer. This item is not expected to be prescribed for care home patients. |  | Available in boxes of 100 sachets PIP Code: 322 – 9184 |  |
| Beambridge uri-cushion Wheelchair cushion with a block cut out that allows for easy insertion of the Beambridge urinals and funnels, also useful for intermittent self Catheterisation (Standard size 17” wide x 17”deep x3 “ high) |  | (Above 11 stone) code 6-19C (Below 11 stone)code 6-19P | £275.00 £185.00 |

Other useful information/links

https://www.bladderandbowelfoundation.org/

https://www.manfred-sauer.co.uk/

www.disabledliving.co.uk/PromoCon/About

http://www.eric.org.uk/

Reference

‎Blandy, JP. (1980)Urethral Stricture. Post Graduate medical Journal. 56:383-418

Getliffe, K A (1997) Catheters and Catheterisation in Getliffe, KA, Dolman, M ed (1997)

Promoting Continence: A Clinical and Research Resource. London Ballierre Tindal in

association with The Royal College of Nursing

Getliffe, K A, Hughes SC, Le Claire M (2000) The dissolution of urinary catheter encrustation. British Journal of Urology International 85:60-64

Godfrey H Evans A (2000) Management of long-term catheters: minimizing

complications.

NICE (2012) Infection Control: Preventing Healthcare Associated Infection in Primary

and Secondary Care. National Institute of Clinical Excellence, Manchester.

Roberts JA et al (1993) Adherence to urethral catheters by bacteria causing

nosocomial infections. Urology 41, 4 338-342

Talja M Korpela A, Jarvi K. Comparison of urethral reaction to full silicone, hydrogel

coated and siliconised latex catheters. British journal of Urology 1990; 66 652-657

Woodward S (1997) Complications of allergies to latex catheters. British Journal of

Nursing 6 (14): 786-793

Appendix 1

Manfred Sauer Products

Leg Bags

| Product | Leg bag size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Discreet Thigh Bag, overnight connector tube and fabric/velcro leg straps | 450ml diagonal direct inlet tube suitable for suprapubic catheter connection | 70.04S | 10 | £24.91 |
|  | 400ml straight direct inlet tube | 70.06S | 10 | £24.91 |
| Discreet Thigh Bag, overnight connector tube, latex free system, soft wide and narrow straps (1 pair per box of 10)Sterile | 500ml straight direct inlet tube, twist tap | 720.3200S | 10 | £29.63 |
|  | 500ml diagonal direct inlet tube, twist tap | 721.3200S | 10 | £29.63 |
| Bendi Bag leg bag with tap outlet, overnight connector tube and fabric/velcro leg straps (1 pair per box of 10) | * 700ml Direct inlet tube, swing tap | 70.33-04 | 10 | £23.20 |
|  | 700ml 12cm inlet tube, swing tap | 70.33-12 | 10 | £23.20 |
|  | 700ml 20cm inlet tube, swing tap | 70.33-20 | 10 | £23.20 |
|  | 700ml 35cm adjustable inlet tube, swing tap | 70.33-35adj | 10 | £23.20 |
|  | 700ml 35cm adjustable inlet tube, slide tap | 70.33-35Padj | 10 | £23.20 |
|  | Sterile *700ml Direct inlet tube, swing tap | 70.33-04S | 10 | £26.79 |
|  | Sterile * 700ml 12cm inlet tube, swing tap | 70.33-12S | 10 | £26.79 |
|  | Sterile * 700ml 20cm inlet tube, swing tap | 70.33-20S | 10 | £26.79 |
|  | Sterile * 700ml 35cm adjustable inlet tube, swing tap | 70.33-35Sadj | 10 | £26.79 |
|  | W 1300ml Direct inlet tube, swing tap | 70.47-04 | 10 | £23.20 |
|  | W 1300ml 12cm inlet tube, swing tap | 70.47-12 | 10 | £23.20 |
|  | W 1300ml 20cm inlet tube, swing tap | 70.47-20 | 10 | £23.20 |
|  | W 1300ml 35cm adjustable inlet tube, swing tap | 70.47-35ADJ | 10 | £23.20 |
|  | W 1300ml 35cm adjustable inlet tube, slide tap | 70.47-35pADJ | 10 | £23.20 |
|  | Sterile W 1300ml Direct inlet tube, swing tap | 70.47-04S | 10 | £26.79 |
|  | Sterile W 1300ml 12cm inlet tube, swing tap | 70.47-12S | 10 | £26.80 |
|  | *Sterile W 1300ml 20cm inlet tube, swing tap | 70.47-20S | 10 | £26.79 |
|  | Sterile W 1300ml 35cm adjustable inlet tube, swing tap | 70.47-35Sadj | 10 | £26.79 |
| Bendi Bag leg bag, 10 overnight connector tubes, latex free system, soft wide and narrow straps (1 pair per box of 10) and needle free sample port | W Sterile * 1300ml 12cm inlet tube, twist tap | TBB13S | 10 | £29.38 |
|  | S* 700ml 12 cm inlet tube, twist tap | TBB07S | 10 | £29.38 |
| Comfort Leg Bag 600ml with universal adapter, 2 straps and 1 latex connector | Direct inlet glued adapter, swing tap | 710.1104 | 10 | £25.00 |
|  | 15cm inlet adjustable, swing tap | 710.1315adj | 10 | £25.00 |
|  | 45cm inlet adjustable, swing tap | 710.1345adj | 10 | £25.00 |
|  | Direct inlet glued adapter, push valve/sliding tap | 710.2104 | 10 | £25.00 |
|  | 15cm inlet adjustable, push valve/sliding tap | 710.2315adj | 10 | £25.00 |
|  | 45cm inlet adjustable, push valve/sliding tap | 710.2345adj | 10 | £25.00 |
| Comfort Leg Bag 600ml with universal adapter, 1x 4cm wide top strap & 1 x 2cm wide bottom strap and 3 latex connectors. | Sterile * Direct inlet glued adapter, swing tap | 710.1204S | 10 | £26.97 |
|  | Sterile * 15cm inlet adjustable, swing tap | 710.1415Sadj | 10 | £26.97 |
|  | Sterile * 45cm inlet adjustable, swing tap | 710.1445Sadj | 10 | £26.97 |
|  | Sterile * Direct inlet glued adapter, push valve/sliding tap | 710.2204S | 10 | £26.97 |
|  | Sterile* 15cm inlet adjustable, push valve/sliding tap | 710.2415Sadj | 10 | £26.97 |
|  | Sterile * 45cm inlet adjustable, push valve/sliding tap | 710.2445Sadj | 10 | £26.97 |
| Comfort Leg Bag 600ml, twist tap with connecting tube attached, needle free sample port and universal adapter, latex free system, soft wide and narrow straps (1 pair per box of 10) | Sterile * 49cm inlet tube twist tap | T710S | 10 | £28.83 |
| Comfort Leg Bag 1000ml, twist tap with connecting tube attached, needle free sample port and universal adapter, latex free system, soft wide and narrow straps (1 pair per box of 10) | Sterile * 49cm inlet tube twist tap | T711S | 10 | £29.38 |
| Comfort Leg Bag "R" 600ml with universal adapter, 2 straps and 10 latex adapters | S * 45cm inlet adjustable, reverse swing tap, attached night bag adapter | R710.1445SOadj | 10 | £29.38 |

Sheaths

| Product | Sheath Size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| K+ICS Sheath (plus 5 Sheath tip connectors) have special removable tips which enable the sheath to be expanded over the penis with a special sheath expander tool, to allow for clean intermittent self-catheterisation | 18mm 20mm 22mm 24mm 26mm 28mm 30mm 32mm 35mm 37mm 40mm | 103.18 103.20 103.22 103.24 103.26 103.28 103.30 103.32 103.35 103.37 103.40 | 30 | £50.38 |
| K+ICS Sheath Expander (can only be used to expand Manfred Sauer K+ICS Sheaths over the penis to allow for clean intermittent self-catheterisation) |  | 100.01 | 1 | £71.52 |
| K+ICS Sheath Tips (can only be used with Manfred Sauer K+ICS Sheaths - see Incontinence Sheaths section of this publication for Manfred Sauer K+ICS Sheaths) |  | 100.05 | 10 | £17.85 |

| Product | Size | Order Code | Pack Size | Drug Tariff Price |
| --- | --- | --- | --- | --- |
| Leg Bag to Night Bag Latex Connectors |  | 55.38-10 | 10 | £2.95 |
| Leg Bag to Night Bag Latex Free Connectors |  | 55.40-10 | 10 | £2.95 |
| Leg bag straps latex free | Bottom (20mm x 400mm) Narrow (20mm x 500mm) Wide (38mm x 595mm) Wide P (38mm x 595mm) | LB.BLF LB.NLF LB.WLF LB.P-5 | 1 1 1 5 | £1.23 £1.23 £2.07 £10.35 |